FireQual Award in Fire Detection and Alarm Commissioning Theory and Regulatory Requirements to BS 5839

FireQual Level 3 Award in Fire Detection and Alarm Commissioning Theory and Regulatory Requirements to BS 5839

FireQual Award in Fire Detection and Alarm Commissioning Theory and Regulatory Requirements to BS 5839 at SCQF Level 6

Qualification Number (RQF): 610/3713/8

Qualification Number (SCQF): R927 04

RQF Level:3
SCQF Level: 6
Total Credits: 7
Total Learning Time: 67 hours
Guided Learning: 32 hours
Directed Learning: 32 hours
Assessment Time: 3 hours
Assessment Method: E-assessment, Multiple Choice Examination
Age Range: 16–18, 18+

Who is this qualification for?

This qualification is designed for individuals working in or entering the fire detection and alarm (FD&A) commissioning sector, including:

- FD&A Commissioning Technicians

- Fire Safety Engineers

- Electrical Contractors

- Compliance Officers

- Building Services Professionals

- Anyone responsible for commissioning, testing, and certifying FD&A systems

It is ideal for those seeking to demonstrate competence in accordance with BS 5839-1:2025, and the latest publication of BS 5839-6.

What does the qualification cover?

Candidates will gain the skills and knowledge to:

- Commission FD&A systems in line with UK standards and codes of practice

- Apply advanced testing and inspection procedures

- Evaluate system components for compliance and installation quality

- Verify system interfaces with HVAC, suppression, and access control systems

- Manage documentation including certificates, logbooks, and zone plans

- Conduct soak tests and reduce false alarm risks

- Undertake handover and acceptance processes with end users

- Understand the legislative framework and third-party certification schemes

- Apply fault-finding and maintenance techniques for long-term reliability

Qualification Structure

This qualification consists of two mandatory units:

- Foundation in Fire Detection and Alarm Systems
Covers legislation, standards, documentation, fire events, passive protection, and FD&A technologies.

- Fire Detection and Alarm Advanced Commissioning
Focuses on commissioning procedures, testing, interfacing with other systems, documentation, fault-finding, and handover.

Entry Requirements

Candidates should be proficient in literacy, numeracy, and communication.
Access to relevant environments, equipment, and materials is essential.
Field experience in FD&A or related industries is recommended.

Progression Routes

Successful candidates may progress to:

- Higher-level qualifications in fire safety and FD&A systems

- Specialist roles in commissioning, compliance, and consultancy

- Recognition within professional frameworks and CPD pathways

How do I achieve this qualification?

This qualification is currently available exclusively through FireQual Approved Training Centres.
To enrol or learn more, please contact your local ATC or visit https://www.firequal.com.