# Qualification Specification:

FireQual Level 3 Award in the Design, Installation, Commissioning and Maintenance of Emergency Lighting Systems to BS 5266-1:2025 (610/3844/1)

FireQual Award in the Design, Installation, Commissioning and Maintenance of Emergency Lighting Systems to BS 5266-1:2025 at SCQF Level 6 (R923 04)

Copyright ©BAFE FireQual Ltd

All rights reserved. This document or any portion thereof may not be reproduced or used in any manner whatsoever without the express written permission of the publisher.

FireQual Approved Training Centres and candidates undertaking a FireQual qualification or recognised training programme may photocopy this document free of charge and/or include a PDF version on its intranet where it is only done so for the purposes of the approved delivery of this qualification or recognised training programme.

Every effort has been made to ensure that the information contained in this publication is true and accurate at the time of publication. However, FireQual strives to continually develop and improve both our qualifications and recognised training programmes and, as such, there may be occasions where changes are required. FireQual does not accept liability for any loss or damage arising from the use of the information contained within this publication.

Version Control

| Date of Update | Name | Version | Description of Update |
| --- | --- | --- | --- |
| September 2025 | Darren Ellis | 1 | Drafted by Qualifications Manager. |

Table of Contents

About FireQual	4

About this qualification specification	6

Understanding the Purpose of this Qualification	6

What are the Benefits of this Qualification?	7

Advancing Your Career Through this Qualification	7

Eligibility to Enrol	8

Scope and Topics Covered	9

Units of Study	9

Ensuring Effective Delivery	9

Methods of Assessment	10

Staff and Expertise at ATCs	10

Resources and Materials for Candidates	10

Regulated Standards and Recognition	10

Opportunities for Further Learning	10

### About FireQual

FireQual is a nationally recognised specialist Awarding Organisation (AO) providing Ofqual and SQAA regulated qualifications to those working within the fire sector.

Our mission is to support and inspire candidates to advance their professionalism and continually develop their competence. We achieve this by creating and delivering high quality regulated qualifications across several relevant subject areas. We also recognise bespoke fire safety training programmes.

We value the contribution that our stakeholders make and, by building strong partnerships, we can ensure our co-produced qualifications are relevant and meet the needs of the fire safety community. By working with others and responding to the needs of the fire sector, we aim to inspire all fire safety professionals to reach their full potential.

The specification’s principal aim is to provide candidates and Approved Training Centres (ATCs) with detailed information on the qualification and how it may be delivered. FireQual is committed to providing qualifications that are current and are based on all relevant legislative requirements, standards and guidelines. We will therefore review this qualification and issue updates when required.

FireQual ensures that candidates have access to all learning materials and resources (including the provision of alternative formats) through our ATCs. This allows candidates with individual needs to access the content in a way that suits their learning and development requirements.

FireQual is committed to promoting equity, diversity and inclusion (EDI) across all its qualifications, which have been designed to ensure that everyone has an equal chance of success.

We promote initiatives that encourage diversity within the fire sector, and we operate a framework that enables individuals from underrepresented groups to succeed and progress. We require our ATCs to implement and practice EDI practices throughout their training delivery and assessment, and FireQual regularly monitors them to ensure adherence to EDI principles.

To successfully undertake the management of this qualification, our ATCs are directed to  FireQual policies, procedures, additional guidance and support.

To access information relating to this qualification, associated policies or to make general enquiries; contact should be made as follows:

- All telephone enquiries - 01608 656 130

(Please note all phone calls are recorded for customer service purposes.)

- Email enquiries to info@firequal.com

- Written communications may be submitted to the following address:

FireQual,

The Fire Service College,

London Road,

Moreton-in-Marsh,

Gloucestershire,

GL56 0RH

### About this qualification specification

The FireQual Level 3 Award in the Design, Installation, Commissioning and Maintenance of Emergency Lighting Systems to BS 5266-1:2025 (610/3844/1) has been designed to ensure technicians have the behaviours, knowledge, and skills required to safely and effectively design, test, maintain, and rectify faults within emergency lighting systems.

This qualification enables candidates to evidence competence in line with UK legislation, BS 5266-1:2025 Code of practice for the emergency lighting of premises and BS EN 50172 (BS 5266-8) Emergency escape lighting systems, as well as industry good practice. It focuses on the design and application of emergency lighting, lux level measurement, disability glare, system types, and signage requirements, alongside practical skills in testing, maintenance, and rectification.

It is a core part of FireQual’s fire safety pathway, designed to give technicians a solid platform for career progression while reinforcing the importance of ongoing professional development (CPD) to stay up to date with evolving standards and practices.

The specification’s principal aim is to provide candidates and Approved Training Centres (ATCs) with detailed information on the qualification and how it may be delivered. FireQual is committed to providing qualifications that are current and based on all relevant legislative requirements, standards, and guidelines. This qualification will be reviewed periodically, and updates issued when required.

This qualification specification is intended for potential candidates and employers. It details the requirements for candidates to achieve the qualification and includes information specific to managing and delivering the qualification(s), as well as the necessary quality assurance requirements. ATCs have access to a more detailed unit-based specification, along with supporting documents such as the Approved Training Centre Manual, to guide delivery and assessment.

### Understanding the Purpose of this Qualification

The purpose of this qualification is to provide candidates with the knowledge and skills required to:

- Design, specify, and certify emergency lighting systems in compliance with statutory requirements.

- Apply BS 5266-1:2025 and the latest versions of BS EN 50172 (BS 5266-8) to ensure safe, effective, and legally compliant installation and maintenance.

- Accurately measure lux levels, identify and mitigate disability glare, and apply correct signage for different types of premises.

- Know how to conduct manual and automatic testing, apply fault-finding and rectification procedures, and complete logbooks and certificates.

- Build a professional foundation for further career development within fire safety.

By completing this qualification, candidates validate their abilities, strengthen their professional reputation, and open opportunities for progression into higher-level fire safety roles.

### What are the Benefits of this Qualification?

This qualification has been specifically designed for those working in, or entering, the fire safety sector. It:

- Provides recognition of essential technical competence in emergency lighting.

- Builds professional confidence in meeting statutory and industry requirements.

- Enhances employability and recognition within the fire protection sector.

- Creates a clear pathway to more advanced fire safety qualifications and career opportunities.

### Advancing Your Career Through this Qualification

Achieving this qualification creates a stepping stone within the wider fire safety industry. Successful candidates can use the Award to:

- Work with emergency lighting systems with confidence and competence.

- Progress into more specialised fire safety areas, such as fire detection and alarm (FD&A) systems design, installation, commissioning, or maintenance.

- Pursue further FireQual regulated Awards in related areas, including Fire Wardens, Building Fire Safety Compliance, or Portable Fire Extinguisher Servicing.

- Develop the technical expertise required for more senior or specialist roles in fire protection and life safety.

### Eligibility to Enrol

Candidates must:

- Be at least 16 years of age.

- Demonstrate proficiency in literacy, numeracy, and communication.

- Have access to appropriate environments, equipment (i.e. Lux meter) and materials to meet the evidence requirements.

It is recommended that candidates have prior field experience in electrical installation or related industries, including familiarity with BS 7671 wiring regulations, to maximise success in this qualification.

Achieving the Qualification

To achieve this qualification, candidates must successfully complete the following mandatory units:

- Unit 1: Emergency Lighting Systems and Standards (1 credit)

- Unit 2: Maintenance and Fault Rectification of Emergency Lighting Systems (1 credit)

Assessment:

- Online e-Assessment (Multiple-choice exam) taken in an invigilated environment.

- Results are recorded as Pass/Fail.

Time commitment:

- Guided Learning: 9 hours

- Directed Learning: 11 hours

- Assessment: 2 hours

- Total Qualification Time: 22 hours

Credits: 2

### Scope and Topics Covered

This qualification covers the full range of knowledge and skills required to competently design, test, and maintain emergency lighting systems. Study areas include:

- Legislative and regulatory frameworks for emergency lighting.

- Scope, functions, and definitions in BS 5266-1:2025 and the latest versions of BS EN 50172 (BS 5266-8).

- Types of systems (maintained, non-maintained, combined, self-contained, centrally supplied).

- Lux level measurement, environmental considerations, and disability glare.

- Design procedures, signage requirements, and premises-specific considerations.

- Manual and automatic testing procedures.

- Fault-finding and rectification strategies.

- Record keeping, logbooks, and certification requirements.

- Modern technologies such as LED lighting and smart automatic testing systems.

### Units of Study

The qualification requires candidates to complete the following units:

| Ofqual | SCQF | Unit Title |
| --- | --- | --- |
| R/651/8285 | UW22 04 | Emergency Lighting Systems and Standards |
| T/651/8286 | UW23 04 | Maintenance and Fault Rectification of Emergency Lighting Systems |

### Ensuring Effective Delivery

Approved Training Centres (ATCs) must provide access to suitable facilities, resources, and equipment to ensure realistic and supportive learning.

Training delivery should replicate workplace conditions where possible.

### Methods of Assessment

Assessment is designed to evaluate both theoretical understanding and knowledge of applied skills. Candidates will be assessed through:

- E-assessment (MCQ examination).

### Staff and Expertise at ATCs

ATCs must employ suitably qualified and experienced staff to deliver this qualification. Trainers and assessors should:

- Demonstrate technical competence in emergency lighting system design, installation, testing, and maintenance.

- Hold, or be working towards, recognised assessor and/or IQA qualifications.

- Maintain CPD to ensure their delivery reflects current industry practices.

### Resources and Materials for Candidates

FireQual provides a wealth of resources to ATCs to support both learning and assessment. These include detailed qualification specifications, relevant policies, and sample assessment materials. These materials are designed to guide candidates and ATCs alike, ensuring clarity in the requirements and standards.

### Regulated Standards and Recognition

This qualification is regulated by the Office of Qualifications and Examinations Regulation (Ofqual) and the Scottish Qualifications Authority Accreditation (SQAA). These regulatory bodies ensure that FireQual qualifications meet high standards of quality and consistency.

### Opportunities for Further Learning

Upon completion, candidates may progress into advanced FireQual qualifications, including:

- FireQual Level 3 Award in Fire Detection and Alarm Installation Theory and Regulatory Requirements to BS 5839.

- FireQual Level 3 Award in Fire Detection and Alarm Maintenance Theory and Regulatory Requirements to BS 5839.

- Other specialist FireQual regulated Awards in Fire Safety or Fire Wardens.

This Award also supports ongoing CPD, enhancing employability and enabling career progression into broader fire safety and building compliance roles.