# Qualification Specification:

FireQual Level 3 Award in Fundamentals of the Recommendations for Fire Detection and Fire Alarm Systems in Domestic Buildings to BS 5839-6 (610/3602/X)

FireQual Award in Fundamentals of the Recommendations for Fire Detection and Fire Alarm Systems in Domestic Buildings to BS 5839-6 at SCQF Level 6 (R925 04)

Copyright ©BAFE FireQual Ltd

All rights reserved. This document or any portion thereof may not be reproduced or used in any manner whatsoever without the express written permission of the publisher.

FireQual Approved Training Centres and candidates undertaking a FireQual qualification or recognised training programme may photocopy this document free of charge and/or include a PDF version on its intranet where it is only done so for the purposes of the approved delivery of this qualification or recognised training programme.

Every effort has been made to ensure that the information contained in this publication is true and accurate at the time of publication. However, FireQual strives to continually develop and improve both our qualifications and recognised training programmes and, as such, there may be occasions where changes are required. FireQual does not accept liability for any loss or damage arising from the use of the information contained within this publication.

Version Control

| Date of Update | Name | Version | Description of Update |
| --- | --- | --- | --- |
| October 2025 | Darren Ellis | 1 | Drafted by Qualifications Manager. |

Table of Contents

About FireQual	4

About this qualification specification	6

Understanding the Purpose of this Qualification	6

What are the Benefits of this Qualification?	7

Advancing Your Career Through this Qualification	7

Eligibility to Enrol	8

Achieving the Qualification	8

Scope and Topics Covered	9

Unit of Study	9

Ensuring Effective Delivery	10

Methods of Assessment	10

Staff and Expertise at ATCs	10

Resources and Materials for Candidates	10

Regulated Standards and Recognition	10

Opportunities for Further Learning	11

### About FireQual

FireQual is a nationally recognised specialist Awarding Organisation (AO) providing Ofqual and SQAA regulated qualifications to those working within the fire sector.

Our mission is to support and inspire candidates to advance their professionalism and continually develop their competence. We achieve this by creating and delivering high quality regulated qualifications across several relevant subject areas. We also recognise bespoke fire safety training programmes.

We value the contribution that our stakeholders make and, by building strong partnerships, we can ensure our co-produced qualifications are relevant and meet the needs of the fire safety community. By working with others and responding to the needs of the fire sector, we aim to inspire all fire safety professionals to reach their full potential.

The specification’s principal aim is to provide candidates and Approved Training Centres (ATCs) with detailed information on the qualification and how it may be delivered. FireQual is committed to providing qualifications that are current and are based on all relevant legislative requirements, standards and guidelines. We will therefore review this qualification and issue updates when required.

FireQual ensures that candidates have access to all learning materials and resources (including the provision of alternative formats) through our ATCs. This allows candidates with individual needs to access the content in a way that suits their learning and development requirements.

FireQual is committed to promoting equity, diversity and inclusion (EDI) across all its qualifications, which have been designed to ensure that everyone has an equal chance of success.

We promote initiatives that encourage diversity within the fire sector, and we operate a framework that enables individuals from underrepresented groups to succeed and progress. We require our ATCs to implement and practice EDI practices throughout their training delivery and assessment, and FireQual regularly monitors them to ensure adherence to EDI principles.

To successfully undertake the management of this qualification, our ATCs are directed to  FireQual policies, procedures, additional guidance and support.

To access information relating to this qualification, associated policies or to make general enquiries; contact should be made as follows:

- All telephone enquiries - 01608 656 130

(Please note all phone calls are recorded for customer service purposes.)

- Email enquiries to info@firequal.com

- Written communications may be submitted to the following address:

FireQual,

The Fire Service College,

London Road,

Moreton-in-Marsh,

Gloucestershire,

GL56 0RH

### About this qualification specification

The FireQual Level 3 Award in Fundamentals of the Recommendations for Fire Detection and Fire Alarm Systems in Domestic Buildings to BS 5839-6 (610/3602/X) provides candidates with essential knowledge to understand and apply the key recommendations for fire detection and fire alarm systems in domestic premises as set out in BS 5839-6.

This qualification is designed for individuals working, or wishing to work, within the domestic fire detection and alarm sector, providing the foundational knowledge required to install, maintain, and understand systems in dwellings.

As part of FireQual’s comprehensive suite of regulated fire safety qualifications, this award ensures that learners receive current, industry-recognised knowledge and skills reflecting the latest British Standards and sector best practice.

The specification aims to provide candidates and Approved Training Centres (ATCs) with clear information about the qualification’s structure, delivery, and assessment requirements. FireQual is committed to maintaining up-to-date, compliant qualifications that reflect relevant legislation, standards, and professional guidelines, reviewing and updating them as required.

This qualification specification is designed for both potential candidates and employers. It outlines the requirements for achieving the qualification and provides delivery guidance for ATCs. Each ATC also receives a detailed unit-level specification and supporting materials, including the FireQual Approved Training Centre Manual, to aid quality delivery and assessment.

### Understanding the Purpose of this Qualification

The purpose of this qualification is to provide candidates with the fundamental knowledge and understanding required to:

- Understand the recommendations for Fire Detection and Fire Alarm Systems in Domestic Buildings in accordance with BS 5839-6.

- Develop confidence in referencing and applying BS 5839-6 recommendations in practical situations.

- Recognise system grades, categories, components, installation, commissioning, testing, and maintenance requirements relevant to domestic dwellings.

- Build a clear foundation for professional development within the domestic fire detection and alarm systems field.

By completing this qualification, candidates demonstrate their competence and enhance their professional standing in the fire safety industry, supporting their career progression within both technical and supervisory roles.

### What are the Benefits of this Qualification?

This qualification has been developed for those beginning or developing their career in the domestic fire detection and alarm systems sector. It:

- Provides a regulated entry point into the domestic fire detection and alarm systems field.

- Builds confidence in applying BS 5839-6 recommendations.

- Strengthens technical understanding for those in installation, commissioning, or maintenance roles.

- Supports professional recognition within the wider fire safety industry.

- Creates a foundation for progression into higher or more specialised Fire Detection and Alarm qualifications.

Entry to this qualification is subject to meeting the outlined criteria, ensuring that candidates are adequately prepared to meet its technical and assessment demands.

### Advancing Your Career Through this Qualification

Achieving this qualification enables candidates to progress into more specialised or advanced pathways within the fire detection and alarm systems sector. Successful completion allows candidates to:

- Specialise in areas such as system design, commissioning, installation, or maintenance within domestic and mixed-occupancy buildings.

- Progress to related RQF Level 3 FireQual qualifications or advanced FD&A theory and practice.

- Develop the underpinning knowledge required for roles such as Fire Detection and Alarm Technician, Installation Engineer, or Maintenance Specialist.

- Build towards higher-level competence within the wider fire safety and building compliance sectors.

This Award not only validates standard core competence at a fundamental level but also acts as a gateway to further professional development and sector-recognised qualifications.

### Eligibility to Enrol

Candidates must be at least 16 years old and demonstrate proficiency in literacy, numeracy, and communication skills.

Candidates should either:

- Have achieved the FireQual Level 3 Award in Fundamentals of the Recommendations for Fire Detection and Fire Alarm Systems in Non-Domestic Buildings to BS 5839-1, or an equivalent qualification; or

- Provide evidence of sufficient knowledge and/or practical experience with Grade A Fire Detection and Fire Alarm systems.

Candidates must also have access to the appropriate learning environment, equipment, and resources to meet the evidence and assessment requirements.

### Achieving the Qualification

To achieve the qualification, candidates must successfully complete 1 mandatory unit:

Unit Title: Fundamentals of the Recommendations for Fire Detection and Fire Alarm Systems in Domestic Buildings.

Assessment:

- Online e-Assessment (Multiple-choice exam) taken in an invigilated environment.

- Results are recorded as Pass/Fail.

Time commitment:

- Guided Learning: 9 hours

- Directed Learning: 4 hours

- Assessment: 2 hours

- Total Qualification Time: 15 hours

Credits: 2

### Scope and Topics Covered

This qualification provides a comprehensive introduction to the recommendations for domestic fire detection and alarm systems in accordance with BS 5839-6. The content focuses on the understanding and application of key principles relating to design, installation, commissioning, and maintenance in domestic settings.

Key areas of study include:

- Scope, references, and definitions within BS 5839-6.

- Fire risk assessment principles for domestic dwellings.

- System components and circuit monitoring.

- Grades and categories of domestic systems (Grades A, C, D, F; Categories LD1, LD2, LD3).

- Detector types, siting, and false alarm mitigation.

- Alarm types, audibility, and accessibility for all occupants, including those with hearing impairments.

- Power supply requirements, wiring, and control and indicating equipment (CIE).

- Manual call point provision and zoning (where applicable).

- Radio-linked systems and remote signalling.

- Installation, commissioning, and certification.

- User guidance, testing, maintenance, and record keeping.

- Application of Annexes within BS 5839-6, including model certificates, battery calculations, and servicing competencies.

### Unit of Study

The qualification requires candidates to complete the following unit:

| Ofqual | SCQF | Unit Title |
| --- | --- | --- |
| F/651/0114 | UW25 04 | Fundamentals of the Recommendations for Fire Detection and Fire Alarm Systems in Domestic Buildings. |

### Ensuring Effective Delivery

Approved Training Centres (ATCs) must provide candidates with access to appropriate facilities, equipment, and real or simulated domestic system environments to support learning outcomes. Training should integrate practical examples and ensure candidates can apply knowledge to realistic scenarios.

### Methods of Assessment

Assessment is conducted through an online multiple-choice examination designed to evaluate the candidate’s understanding of BS 5839-6 and the principles of domestic fire detection and alarm systems. The E-assessment must be completed under invigilated conditions via FireQual’s secure online platform..

### Staff and Expertise at ATCs

ATCs must employ appropriately qualified and experienced staff. Trainers and assessors should have at least two years of relevant industry experience and an up-to-date understanding of BS 5839-1, -6.

Assessors and IQAs must hold or be working towards relevant assessor or quality assurance qualifications and demonstrate current competence in the domestic fire detection and alarm systems field.

### Resources and Materials for Candidates

FireQual supports ATCs with access to comprehensive resources, including detailed qualification specifications, policies, and sample assessment materials. These ensure consistent delivery and clear guidance for candidates and assessors alike.

### Regulated Standards and Recognition

This qualification is regulated by the Office of Qualifications and Examinations Regulation (Ofqual) and the Scottish Qualifications Authority Accreditation (SQAA). These regulatory bodies ensure that FireQual qualifications meet high standards of quality and consistency.

### Opportunities for Further Learning

Upon successful completion, candidates may progress to:

- FireQual Level 3 Awards in Fire Detection and Alarm Design, Installation, Commissioning, or Maintenance Theory and Regulatory Requirements to BS 5839.

This Award also supports continuing professional development (CPD) and provides a foundation for future advancement within the fire safety and building compliance sectors.