# Qualification Specification:

FireQual Level 3 Award in Fire Detection and Alarm Installation Theory and Regulatory Requirements to BS 5839 (610/3603/1)

FireQual Award in Fire Detection and Alarm Installation Theory and Regulatory Requirements to BS 5839 at SCQF Level 6 (R928 04)

Copyright ©BAFE FireQual Ltd

All rights reserved. This document or any portion thereof may not be reproduced or used in any manner whatsoever without the express written permission of the publisher.

FireQual Approved Training Centres and candidates undertaking a FireQual qualification or recognised training programme may photocopy this document free of charge and/or include a PDF version on its intranet where it is only done so for the purposes of the approved delivery of this qualification or recognised training programme.

Every effort has been made to ensure that the information contained in this publication is true and accurate at the time of publication. However, FireQual strives to continually develop and improve both our qualifications and recognised training programmes and, as such, there may be occasions where changes are required. FireQual does not accept liability for any loss or damage arising from the use of the information contained within this publication.

Version Control

| Date of Update | Name | Version | Description of Update |
| --- | --- | --- | --- |
| September 2025 | Darren Ellis | 1 | Drafted by Qualifications Manager. |

Table of Contents

About FireQual	4

About this qualification specification	6

Understanding the Purpose of this Qualification	6

What are the Benefits of this Qualification?	7

Advancing Your Career Through this Qualification	7

Eligibility to Enrol	7

Achieving the Qualification	8

Scope and Topics Covered	8

Unit of Study	9

Ensuring Effective Delivery	9

Methods of Assessment	9

Staff and Expertise at ATCs	9

Resources and Materials for Candidates	9

Regulated Standards and Recognition	9

Opportunities for Further Learning	10

### About FireQual

FireQual is a nationally recognised specialist Awarding Organisation (AO) providing Ofqual and SQAA regulated qualifications to those working within the fire sector.

Our mission is to support and inspire candidates to advance their professionalism and continually develop their competence. We achieve this by creating and delivering high quality regulated qualifications across several relevant subject areas. We also recognise bespoke fire safety training programmes.

We value the contribution that our stakeholders make and, by building strong partnerships, we can ensure our co-produced qualifications are relevant and meet the needs of the fire safety community. By working with others and responding to the needs of the fire sector, we aim to inspire all fire safety professionals to reach their full potential.

The specification’s principal aim is to provide candidates and Approved Training Centres (ATCs) with detailed information on the qualification and how it may be delivered. FireQual is committed to providing qualifications that are current and are based on all relevant legislative requirements, standards and guidelines. We will therefore review this qualification and issue updates when required.

FireQual ensures that candidates have access to all learning materials and resources (including the provision of alternative formats) through our ATCs. This allows candidates with individual needs to access the content in a way that suits their learning and development requirements.

FireQual is committed to promoting equity, diversity and inclusion (EDI) across all its qualifications, which have been designed to ensure that everyone has an equal chance of success.

We promote initiatives that encourage diversity within the fire sector, and we operate a framework that enables individuals from underrepresented groups to succeed and progress. We require our ATCs to implement and practice EDI practices throughout their training delivery and assessment, and FireQual regularly monitors them to ensure adherence to EDI principles.

To successfully undertake the management of this qualification, our ATCs are directed to  FireQual policies, procedures, additional guidance and support.

To access information relating to this qualification, associated policies or to make general enquiries; contact should be made as follows:

- All telephone enquiries - 01608 656 130

(Please note all phone calls are recorded for customer service purposes.)

- Email enquiries to info@firequal.com

- Written communications may be submitted to the following address:

FireQual,

The Fire Service College,

London Road,

Moreton-in-Marsh,

Gloucestershire,

GL56 0RH

### About this qualification specification

The FireQual Level 3 Award in Fire Detection and Alarm Installation Theory and Regulatory Requirements to BS 5839 is designed to recognise and validate the skills and knowledge needed to competently install and test fire detection and alarm systems. It provides candidates with a strong understanding of current UK legislation, BS 5839-1,-6 and associated standards, alongside practical techniques for installation, testing, fault-finding, and certification.

This Award forms part of the wider FireQual suite of Fire Detection and Alarm qualifications, covering Fundamentals, Design, Installation, Commissioning, and Maintenance. Together, these qualifications provide a complete learning and career development pathway for fire safety professionals.

The specification’s principal aim is to provide candidates and Approved Training Centres (ATC’s) with detailed information on the qualification and how it may be delivered. FireQual is committed to providing qualifications that are current and are based on all relevant legislative requirements, standards and guidelines. We will therefore review this qualification and issue updates when required.

This qualification specification is intended for potential candidates or employers. It details the requirements for candidates to achieve the qualification and includes information specific to managing and delivering the qualification(s), as well as the necessary quality assurance requirements. Our ATCs have access to a more detailed unit-based specification for this qualification, along with other guidance documents such as our Approved Training Centre Manual, to support their delivery and assessment processes.

### Understanding the Purpose of this Qualification

The purpose of this qualification is to provide candidates with the knowledge and skills required to:

- Understand the legislative framework, codes of practice, and standards (including BS 5839-1,-6) that underpin the installation of FD&A systems.

- Apply appropriate installation and fixing techniques to meet system design requirements.

- Test installations, identify and resolve faults, and certify completed work in line with best practice and regulatory requirements.

- Build competence and confidence in installing fire detection and alarm systems across a range of building types and occupancy profiles.

By completing this qualification, candidates demonstrate their ability to undertake installation work to the required industry standards, supporting both compliance and fire safety outcomes.

### What are the Benefits of this Qualification?

This qualification is specifically designed for those undertaking FD&A system installation. It:

- Provides a recognised benchmark for competence as an FD&A System Installer.

- Strengthens confidence in applying BS 5839-1 and associated standards to real-world installations.

- Enhances professional recognition and career credibility within the fire safety sector.

- Establishes a clear route for progression into commissioning, maintenance, and advanced FD&A roles.

Entry to this qualification is subject to meeting the outlined criteria, ensuring candidates are adequately prepared for its demands.

### Advancing Your Career Through this Qualification

Achieving this qualification supports career progression in the fire detection and alarm sector. Successful candidates can:

- Work as FD&A System Installers with the confidence to install, test, and certify new systems.

- Progress into related pathways such as commissioning, maintenance, or design.

- Pursue roles such as Installation Engineer, Fire Alarm Technician, or Fire Systems Engineer.

- Build a foundation for further qualifications and CPD opportunities in fire safety and building safety.

This Award validates a candidate’s ability to install and test FD&A systems competently, while acting as a stepping stone to further qualifications and professional development.

### Eligibility to Enrol

Candidates must:

- Be at least 16 years of age.

- Demonstrate proficiency in literacy, numeracy, and communication.

- Have access to appropriate environments, equipment, and materials to meet the evidence requirements.

It is recommended that candidates have prior field experience in FD&A or relevant experience in related industries to maximise success in this qualification.

Achieving the Qualification

To achieve this qualification, candidates must successfully complete the following mandatory units:

- Unit 1: Foundation in Fire Detection and Alarm Systems (4 credits)

- Unit 2: Fire Detection and Alarm Advanced Installation (3 credits)

Assessment:

- Online e-Assessment (Multiple-choice exam) taken in an invigilated environment.

- Results are recorded as Pass/Fail.

Time commitment:

- Guided Learning: 33 hours

- Directed Learning: 32 hours

- Assessment: 3 hours

- Total Qualification Time: 68 hours

Credits: 7

### Scope and Topics Covered

This qualification provides candidates with the technical knowledge and skills required for the correct installation and testing of FD&A systems.

Areas of study include:

- Legislative framework, codes of practice, and relevant standards.

- System components and their correct installation methods.

- Fixing techniques and cable management.

- Testing and verification of installed systems.

- Fault-finding methodologies and corrective action.

- Completion of certification and record keeping.

- Considerations for integration with other fire safety measures.

- Managing false alarms and ensuring installation quality.

### Units of Study

The qualification requires candidates to complete the following units:

| Ofqual | SCQF | Unit Title |
| --- | --- | --- |
| H/651/0061 | UW26 04 | Foundation in Fire Detection and Alarm Systems |
| Y/651/0102 | UW29 04 | Fire Detection and Alarm Advanced Installation |

### Ensuring Effective Delivery

ATCs delivering this qualification must ensure that candidates have access to:

- Suitable facilities, equipment, and materials.

- Real or simulated installation and testing activities.

- A supportive learning environment reflecting real-world practices.

### Methods of Assessment

Assessment is designed to evaluate both theoretical knowledge and its application in system design. Candidates are assessed via:

E-assessment, Multiple Choice Examination in an invigilated environment.

### Staff and Expertise at ATCs

ATCs must employ suitably qualified and experienced staff. This includes:

- Trainers and assessors with technical knowledge and experience equivalent to the Learning Outcomes.

- Assessors/IQAs holding, or working towards, appropriate qualifications.

- IQAs with at least two years’ relevant experience in fire safety or FD&A practice.

### Resources and Materials for Candidates

FireQual provides a wealth of resources to ATCs to support both learning and assessment. These include detailed qualification specifications, relevant policies, and sample assessment materials. These materials are designed to guide candidates and ATCs alike, ensuring clarity in the requirements and standards.

### Regulated Standards and Recognition

This qualification is regulated by the Office of Qualifications and Examinations Regulation (Ofqual) and the Scottish Qualifications Authority Accreditation (SQAA). These regulatory bodies ensure that FireQual qualifications meet high standards of quality and consistency.

### Opportunities for Further Learning

On completion, candidates may progress to:

- FireQual Level 3 Awards in Commissioning, Maintenance, or Design of FD&A systems.

- Other advanced qualifications within the FireQual suite.

- Ongoing CPD to maintain competence in line with changes in legislation, standards, and best practice.

This Award provides a vital foundation for those looking to advance their career within the fire detection and alarm sector and the wider field of building safety.