# Qualification Specification:

FireQual Level 3 Award in the Servicing and Maintenance of Portable Fire Extinguishers to BS 5306 (610/3608/0)

FireQual Award in the Servicing and Maintenance of Portable Fire Extinguishers to BS 5306 at SCQF Level 6 (R921 04)

Copyright ©BAFE FireQual Ltd

All rights reserved. This document or any portion thereof may not be reproduced or used in any manner whatsoever without the express written permission of the publisher.

FireQual Approved Training Centres and candidates undertaking a FireQual qualification or recognised training programme may photocopy this document free of charge and/or include a PDF version on its intranet where it is only done so for the purposes of the approved delivery of this qualification or recognised training programme.

Every effort has been made to ensure that the information contained in this publication is true and accurate at the time of publication. However, FireQual strives to continually develop and improve both our qualifications and recognised training programmes and, as such, there may be occasions where changes are required. FireQual does not accept liability for any loss or damage arising from the use of the information contained within this publication.

Version Control

| Date of Update | Name | Version | Description of Update |
| --- | --- | --- | --- |
| September 2025 | Darren Ellis | 1 | Drafted by Qualifications Manager. |

Table of Contents

About FireQual	4

About this qualification specification	6

Understanding the Purpose of this Qualification	6

What are the Benefits of this Qualification?	7

Advancing Your Career Through this Qualification	7

Eligibility to Enrol	7

Scope and Topics Covered	8

Units of Study	9

Ensuring Effective Delivery	9

Methods of Assessment	9

Staff and Expertise at ATCs	9

Resources and Materials for Candidates	10

Regulated Standards and Recognition	10

Opportunities for Further Learning	10

### About FireQual

FireQual is a nationally recognised specialist Awarding Organisation (AO) providing Ofqual and SQAA regulated qualifications to those working within the fire sector.

Our mission is to support and inspire candidates to advance their professionalism and continually develop their competence. We achieve this by creating and delivering high quality regulated qualifications across several relevant subject areas. We also recognise bespoke fire safety training programmes.

We value the contribution that our stakeholders make and, by building strong partnerships, we can ensure our co-produced qualifications are relevant and meet the needs of the fire safety community. By working with others and responding to the needs of the fire sector, we aim to inspire all fire safety professionals to reach their full potential.

The specification’s principal aim is to provide candidates and Approved Training Centres (ATCs) with detailed information on the qualification and how it may be delivered. FireQual is committed to providing qualifications that are current and are based on all relevant legislative requirements, standards and guidelines. We will therefore review this qualification and issue updates when required.

FireQual ensures that candidates have access to all learning materials and resources (including the provision of alternative formats) through our ATCs. This allows candidates with individual needs to access the content in a way that suits their learning and development requirements.

FireQual is committed to promoting equity, diversity and inclusion (EDI) across all its qualifications, which have been designed to ensure that everyone has an equal chance of success.

We promote initiatives that encourage diversity within the fire sector, and we operate a framework that enables individuals from underrepresented groups to succeed and progress. We require our ATCs to implement and practice EDI practices throughout their training delivery and assessment, and FireQual regularly monitors them to ensure adherence to EDI principles.

To successfully undertake the management of this qualification, our ATCs are directed to  FireQual policies, procedures, additional guidance and support.

To access information relating to this qualification, associated policies or to make general enquiries; contact should be made as follows:

- All telephone enquiries - 01608 656 130

(Please note all phone calls are recorded for customer service purposes.)

- Email enquiries to info@firequal.com

- Written communications may be submitted to the following address:

FireQual,

The Fire Service College,

London Road,

Moreton-in-Marsh,

Gloucestershire,

GL56 0RH

### About this qualification specification

The FireQual Level 3 Award in the Servicing and Maintenance of Portable Fire Extinguishers to BS 5306 has been developed to ensure technicians have the behaviours, knowledge, and skills required to safely and effectively maintain this essential fire protection equipment.

This qualification enables candidates to evidence competence in line with UK legislation, BS 5306, and industry good practice. It focuses on the servicing, refilling, recharging, and safe disposal of extinguishers, as well as ensuring compliance with statutory and record-keeping requirements.

It is a core part of FireQual’s fire safety pathway, designed to give technicians a solid platform for career progression while reinforcing the importance of ongoing professional development (CPD) to stay up to date with evolving standards and practices.

The specification’s principal aim is to provide candidates and Approved Training Centres (ATC’s) with detailed information on the qualification and how it may be delivered. FireQual is committed to providing qualifications that are current and are based on all relevant legislative requirements, standards and guidelines. We will therefore review this qualification and issue updates when required.

This qualification specification is intended for potential candidates or employers. It details the requirements for candidates to achieve the qualification and includes information specific to managing and delivering the qualification(s), as well as the necessary quality assurance requirements. Our ATCs have access to a more detailed unit-based specification for this qualification, along with other guidance documents such as our Approved Training Centre Manual, to support their delivery and assessment processes.

### Understanding the Purpose of this Qualification

The purpose of this qualification is to provide candidates with the knowledge and skills required to:

- Service, recharge, and safely dispose of portable fire extinguishers in compliance with statutory requirements.

- Apply parts of BS 5306-1,-3,-8,-9 and -10 and where required other relevant codes of practice to ensure safe, effective, and legally compliant maintenance.

- Conduct fitness checks, apply appropriate labelling, complete service records, and certify extinguishers for use.

- Build a professional foundation for further career development within fire safety.

By completing this qualification, candidates validate their abilities, strengthen their professional reputation, and open opportunities for progression into higher-level fire safety roles.

### What are the Benefits of this Qualification?

This qualification has been specifically designed for those working in, or entering, the fire safety sector. It:

- Provides recognition of essential technical competence in extinguisher servicing.

- Builds professional confidence in meeting statutory and industry servicing requirements.

- Enhances employability and recognition within the fire protection sector.

- Creates a clear pathway to more advanced fire safety qualifications and career opportunities.

### Advancing Your Career Through this Qualification

Achieving this qualification creates a stepping stone within the wider fire safety industry. Successful candidates can use the Award to:

- Work with portable fire extinguishers with confidence and competence.

- Progress into more specialised fire safety areas, such as Fire Detection and Alarm (FD&A) systems design, installation, commissioning, or maintenance.

- Pursue further FireQual regulated Awards in related areas, including Fire Wardens, Emergency lighting, or Building fire safety compliance.

- Develop the technical expertise required for more senior or specialist roles in fire protection and life safety.

### Eligibility to Enrol

Candidates must:

- Be at least 18 years of age.

- Demonstrate proficiency in literacy, numeracy, and communication.

- Have access to appropriate environments, equipment, and materials to meet the evidence requirements.

It is recommended that candidates have prior field experience in FD&A or relevant experience in related industries to maximise success in this qualification.

Achieving the Qualification

To achieve this qualification, candidates must successfully complete the following mandatory units:

- Unit 1: Principles of Portable Fire Extinguisher Servicing and Maintenance (3 credits)

- Unit 2: Conducting Portable Fire Extinguisher Servicing and Maintenance (2 credits)

Assessment:

- Online e-Assessment (Multiple-choice exam) taken in an invigilated environment.

- Results are recorded as Pass/Fail.

- Practical assessment.

Time commitment:

- Guided Learning: 28 hours

- Directed Learning: 10 hours

- Assessment: 10 hours

- Total Qualification Time: 48 hours

Credits: 5

### Scope and Topics Covered

This qualification covers the full range of knowledge and skills required to competently service and maintain portable fire extinguishers. Study areas include:

- Legislative and regulatory frameworks for extinguisher servicing.

- Selection and suitability of extinguisher types for specific risks.

- Installation checks, positioning, and accessibility requirements.

- Safe handling, servicing, refilling, recharging, and disposal.

- Labelling, record keeping, and reporting requirements.

- Transport and storage regulations.

- Continual professional development in line with industry requirements.

### Units of Study

The qualification requires candidates to complete the following units:

| Ofqual | SCQF | Unit Title |
| --- | --- | --- |
| F/651/0033 | UW19 04 | Principles of Portable Fire Extinguisher Servicing and Maintenance |
| K/651/0036 | UW20 04 | Conducting Portable Fire Extinguisher Servicing and Maintenance |

### Ensuring Effective Delivery

Approved Training Centres (ATCs) must provide access to suitable facilities, resources, and equipment to ensure realistic and supportive learning.

Training delivery should replicate workplace conditions where possible.

### Methods of Assessment

Assessment is designed to evaluate both theoretical understanding and applied skills. Candidates will be assessed through:

- E-assessment (MCQ examination).

- Portfolio of evidence demonstrating practical competence with professional discussion.

### Staff and Expertise at ATCs

ATCs must employ suitably qualified and experienced staff to deliver this qualification. Trainers and assessors should:

- Demonstrate technical competence in extinguisher servicing for different types of extinguisher.

- Hold, or be working towards, recognised assessor and/or IQA qualifications.

- Maintain CPD to ensure their delivery reflects current industry practices.

### Resources and Materials for Candidates

FireQual provides a wealth of resources to ATCs to support both learning and assessment. These include detailed qualification specifications, relevant policies, and sample assessment materials. These materials are designed to guide candidates and ATCs alike, ensuring clarity in the requirements and standards.

### Regulated Standards and Recognition

This qualification is regulated by the Office of Qualifications and Examinations Regulation (Ofqual) and the Scottish Qualifications Authority Accreditation (SQAA). These regulatory bodies ensure that FireQual qualifications meet high standards of quality and consistency.

### Opportunities for Further Learning

Upon completion, candidates may progress into advanced FireQual qualifications, including:

- FireQual Level 3 Award in Fire Detection and Alarm Installation Theory and Regulatory Requirements to BS 5839

- FireQual Level 3 Award in Fire Detection and Alarm Maintenance Theory and Regulatory Requirements to BS 5839

- Other specialist FireQual regulated Awards in Fire safety, Emergency lighting, or Fire Wardens.

This Award also supports ongoing professional development (CPD), enhancing employability and enabling career progression into broader fire safety and building compliance roles.